## Report
Lab Report: Analysis of Various Oil Samples - Report_1445 Experiment Overview The primary objective of this experiment was to analyze different oil samples using a range of analytical techniques. Each oil sample was tested in combination with other ingredients to evaluate specific properties such as chemical structure, composition, viscosity, and more. The earmarked analyzers/methods for this experiment were FTIR Spectrometer FTIR-8400, X-Ray Diffractometer XRD-6000, Four Ball FB-1000, Microplate Reader MRX, Ion Chromatograph IC-2100, and Viscometer VS-300. Table 1 below summarizes the various samples analyzed and the corresponding measurements obtained. Each combination of ingredients is treated as a test sample, with particular attention given to modern techniques used in material science. Observational Summary Each test was carefully set up with controlled conditions to ensure the accuracy and relevance of the results. The various analytical tests were performed, resulting in a comprehensive set of data that covers multiple aspects of the sample mixtures. Irrelevant data must be disregarded as part of the experimental procedure. Table 1: Test Sample Measurements Detailed Analysis The experiment encompassed multiple dimensions of oil mixtures, reflecting on their physical attributes and chemical properties. Such complex compositions often reveal compelling insights into molecular interactions. Let's delve into the specifics of each analytical method applied: FTIR Spectroscopy AnalysisThe FTIR technique was critical in identifying functional groups within the oil mixtures. Almond Oil with Vitamin E demonstrated a peak at 1230 1/cm, signifying the presence of ester groups. Concurrently, the Jojoba Oil sample with Glycerin showed a significant absorption at 1750 1/cm indicative of carbonyl stretching. X-Ray Diffraction ObservationsCoconut Oil combined with Cetyl Alcohol and Glycerin was subjected to XRD analysis, presenting a crystalline diffraction pattern at 57 degrees Celsius. This temperature corresponds to the sample's structural changes when transitioning through different phases. Tribological Testing via Four Ball MethodThe wear scar diameter observed for Coconut Oil mixed with Gum and Vitamin E was 0.450 mm. This measurement indicated excellent lubrication properties within the tested blend. Optical Density MeasurementMeanwhile, the optical density measured at 3.2 OD for Coconut Oil with Cetyl Alcohol suggests notable light absorption, which may affect the solution's clarity and purity levels. Ion Chromatography FindingsThe Almond Oil mixture featuring Gum and Glycerin had an ion concentration of 0.015 mM, pinpointing precise solute quantification amid the complex liquid composition. In the final phase of this report, the viscosity characteristics of the test samples examined through the Viscometer VS-300 revealed varying rheological behavior. The significant viscosity in Almond Oil with Cetyl Alcohol and Vitamin E, at 7355.07 cP, suggests thicker, more resistant flow when compared to Jojoba Oil's 2543.56 cP viscosity. The comprehensive results derived from these measurements underscore the intricate synergy of ingredients within each oil blend. While the primary data are instrumental for understanding material properties, they further illustrate potential applications in skincare, healthcare, and industrial domains. Ultimately, the intertwining of methods and observations presents an elaborate puzzle, challenging to decipher purely through automated means but rich in analytical texture for skilled practitioners.

## Table_1
Instrument | Oil Sample | Ingredients | Measurement | Unit
FTIR Spectrometer FTIR-8400 | Almond Oil | Vitamin E | 1230 | 1/cm
X-Ray Diffractometer XRD-6000 | Coconut Oil | Cetyl Alcohol, Glycerin | 57 | C
Four Ball FB-1000 | Coconut Oil | Gum, Vitamin E | 0.45 | mm
Microplate Reader MRX | Coconut Oil | Cetyl Alcohol | 3.2 | OD
Ion Chromatograph IC-2100 | Almond Oil | Gum, Glycerin | 0.015 | mM
FTIR Spectrometer FTIR-8400 | Jojoba Oil | Glycerin | 1750 | 1/cm
Viscometer VS-300 | Coconut Oil | Gum | 5185.99 | cP
Viscometer VS-300 | Jojoba Oil | Vitamin E | 2543.56 | cP
Viscometer VS-300 | Almond Oil | Cetyl Alcohol, Vitamin E | 7355.07 | cP