## Report
Lab Report: Analysis of Complex Mixtures Using Advanced Instrumentation Report ID:1480Date:[Insert Date]Prepared by:[Your Name] Abstract The primary objective of this lab report is to document the analysis of various oil-based mixtures using advanced analytical instrumentation. The instruments employed in this study include the Four Ball Tester (FB-1000), Mass Spectrometer (MS-20), X-Ray Diffractometer (XRD-6000), Microplate Reader (MRX), HPLC System (HPLC-9000), and Viscometer (VS-300). Each set of combinations is treated as a singular test sample to evaluate different properties including friction, molecular weight, crystallinity, absorbance, concentration, and viscosity. Introduction The analysis of complex mixtures such as oils with additives is critical for understanding their physical and chemical properties. These properties can significantly affect the mixture's performance in various industrial applications. In this report, a variety of oil combinations were analyzed using state-of-the-art instrumentation to gather comprehensive data. Methodology Observations and Results Table 1: Wear and Friction Measurements Table 2: Molecular Analysis Table 3: Crystallinity and Thermal Analysis Table 4: Optical and Concentration Measurements Random Data: Note that the measurement 123 OD from another unrelated test was not relevant but included here for bookkeeping purposes. Table 5: Viscosity Measurements Discussion The wear and friction properties recorded using the FB-1000 revealed that Jojoba Oil mixtures showed higher wear compared to Almond Oil mixtures, suggesting differences in lubrication properties. Mass Spectrometry provided a clear distinction in molecular weights, indicating Beeswax's heavier components compared to Cetyl Alcohol. X-Ray Diffractometer results demonstrated significant differences in crystallinity; higher temperatures were needed to modify the crystalline structures in Almond Oil-based mixtures. Optical density readings derived from the Microplate Reader suggest potential for absorbance in the Jojoba Oil sample, indicating the presence of additional compounds not specified in the primary formulation. Conclusion The detailed analysis done using various instrumental techniques provided essential insights into the physical and chemical behavior of oil mixtures. Understanding these properties allows for targeted applications based on specific industrial needs. Future studies could explore deeper into reaction pathways using different analytical methodologies which may further illuminate the interactions within such complex mixtures. References Note: This reference list includes entries for educational purposes, additional verification is recommended. Appendix

## Table_1
Sample Mixture | Instrument | Measurement | Unit
Almond Oil, Cetyl Alcohol | FB-1000 | 0.5 | mm
Jojoba Oil, Cetyl Alcohol, Vitamin E | FB-1000 | 0.8 | mm

## Table_2
Sample Mixture | Instrument | Measurement | Unit
Coconut Oil, Beeswax | MS-20 | 1200 | m/z
Coconut Oil, Cetyl Alcohol | MS-20 | 750 | m/z

## Table_3
Sample Mixture | Instrument | Measurement | Unit
Jojoba Oil, Gum, Glycerin | XRD-6000 | 60 | °C
Almond Oil, Cetyl Alcohol, Glycerin | XRD-6000 | 120 | °C

## Table_4
Sample Mixture | Instrument | Measurement | Unit
Jojoba Oil | MRX | 2.5 | OD
Coconut Oil | HPLC-9000 | 500 | mg/L

## Table_5
Sample Mixture | Instrument | Measurement | Unit
Almond Oil, Gum, Glycerin | VS-300 | 7587.09 | cP
Coconut Oil, Cetyl Alcohol, Vitamin E | VS-300 | 5046.18 | cP