## Report
Lab Report: Mixed Ingredient Analysis Overview This report,Report_1526, documents a series of experiments conducted on various combinations of ingredients using different analytical instruments. Each combination is treated as a single test sample, evaluated through multiple analytical methods to ascertain its unique properties and behaviors. The focus of the study was to understand the interactions and resultant characteristics of these mixtures as applied to cosmetic formulations. Instrumentation The experiments utilized highly specialized instruments to derive accurate and reliable data. Below is a list of the critical instruments used in this study: Sample Mixtures The mixtures analyzed across this report include a variety of commonly used cosmetic ingredients such as Jojoba Oil, Beeswax, and Vitamin E among others. These were mixed in precise proportions before tests were conducted. Experimental Observations and Measurements Table 1: Conductivity and pH Levels Note: The conductivity measurements indicate ionic presence, while the pH level for the Coconut Oil mixture suggests neutrality, typical of stable emulsion systems. Table 2: UV-Vis and XRD Analysis Interference and Anomalies During the UV-Vis analysis, a slight anomaly was observed in the absorbance spectrum at 2.7 Abs with the Jojoba Oil mixture, suggesting potential bonding interactions or impurities. The XRD analysis provided a consistent crystalline structure at 120°C, critical for maintaining the stability in formulations. Table 3: Viscosity, Wear, and Chromatography Note: The viscosity measurement of 5130.79 cP for the Coconut Oil mixture highlights its potential application in thickening agents or stabilizers. Wear testing via Four Ball FB-1000 displayed minimal wear at 0.450 mm, suggesting high resistance properties - ideal for protective formulations. Miscellaneous Observations Interestingly, the thermocycling at 55°C for the Almond Oil mixture with Beeswax and Glycerin showed promising results in terms of stability, further confirmed by the consistent viscosity levels. Conclusion The diverse tests conducted in this report exemplify the intricate nature of ingredient interactions and their impact on functionality in applied settings. Each instrument offered unique insights, with challenges in data extraction underscoring the complexity of holistic understanding required for formulation development. This study forms the basis for more targeted experiments aiming for specific end-use properties in cosmetics and other applications.

## Table_1
Instrument | Ingredients | Measurement | Unit
Conductivity Meter CM-215 | Coconut Oil, Beeswax | 1845 | uS/cm
Conductivity Meter CM-215 | Jojoba Oil | 1650 | uS/cm
pH Meter PH-700 | Coconut Oil, Gum, Glycerin | 7.5 | pH

## Table_2
Instrument | Ingredients | Measurement | Unit
UV-Vis Spectrophotometer | Jojoba Oil, Cetyl Alcohol, Vitamin E | 2.7 | Abs
UV-Vis Spectrophotometer | Coconut Oil, Glycerin | 1.9 | Abs
X-Ray Diffractometer XRD-6000 | Jojoba Oil, Gum, Vitamin E | 120 | C

## Table_3
Instrument | Ingredients | Measurement | Unit
Viscometer VS-300 | Coconut Oil, Gum, Vitamin E | 5130.79 | cP
Four Ball FB-1000 | Jojoba Oil, Gum | 0.45 | mm
HPLC System HPLC-9000 | Almond Oil, Gum, Vitamin E | 750 | mg/L
Liquid Chromatograph LC-400 | Coconut Oil, Beeswax, Vitamin E | 320 | µg/mL