## Report
Lab Report 1533 Experiment Overview The following report details the tests conducted on various mixtures using different laboratory instruments. Each mixture comprises distinct combinations of oils and additives, tested under specific conditions to analyze their properties. Materials and Methods A range of sophisticated instruments were utilized to carry out the tests, and mixtures were prepared using precise ratios of ingredients. Below is the equipment summary and sample preparation information: Sample Preparation Meticulously calculated quantities of each component were combined to form the test samples. The preparation aimed to ensure uniformity across all mixtures. Observations and Results Table 1: NMR and FTIR Spectroscopy Narrative: The NMR Spectroscopy revealed signature peaks at 15.6 ppm, indicating significant shielding effects in the coconut oil and cetyl alcohol mixture. Similarly, the FTIR spectroscopy emitted absorption at 1200 1/cm for the almond oil blend, which corresponds to C-O stretching vibrations present in glycerin. Table 2: Conductivity and Centrifugation Narrative: Conductivity was markedly high at 1450 uS/cm in the jojoba oil-beeswax blend, suggesting enhanced ionic constituents. Centrifugation at 12000 RPM successfully isolated the denser phases within the coconut oil samples. Table 3: Viscosity Measurements Narrative: The viscosity measurements displayed substantial variance; the almond oil mixture presented higher viscosity, indicative of its thicker consistency due to cetyl alcohol's high molecular weight. Table 4: Additional Measurements Narrative: The pH level of the coconut oil mixture remained neutral at 7.4, ensuring compatibility with sensitive formulations, while additional NMR readings highlighted a 3.2 ppm environment, potentially due to glycerin's hydroxyl groups. Conclusion This study's multi-instrumental approach provided a comprehensive profile of each mixture's physicochemical properties. The varied tools and sophisticated analyses offer insights into the subtle differences among similar compounds, thus paving the way for targeted application development based on specific property requirements. Miscellaneous Among unrelated findings during the experiments, an errant observation noted changes in room temperature, which maintained a benign fluctuation between 22°C and 22.5°C, though it exerted negligible effect on the test outcomes. Further studies may explore corollary physical properties in greater variance of environmental conditions for additional insights.

## Table_1
Instrument | Mixture Components | Peak Value | Unit
NMR Spectrometer NMR-500 | Coconut Oil, Cetyl Alcohol, Vitamin E | 15.6 | ppm
FTIR Spectrometer FTIR-8400 | Almond Oil, Gum, Glycerin | 1200 | 1/cm

## Table_2
Instrument | Mixture Components | Measurement | Unit
Conductivity Meter CM-215 | Jojoba Oil, Beeswax, Vitamin E | 1450 | uS/cm
Centrifuge X100 | Coconut Oil | 12000 | RPM

## Table_3
Instrument | Mixture Components | Viscosity | Unit
Viscometer VS-300 | Jojoba Oil, Gum, Glycerin | 2093.41 | cP
Viscometer VS-300 | Almond Oil, Cetyl Alcohol, Vitamin E | 7316.76 | cP

## Table_4
Instrument | Mixture Components | Measure | Unit
pH Meter PH-700 | Coconut Oil, Gum, Glycerin | 7.4 | pH
NMR Spectrometer NMR-500 | Coconut Oil, Glycerin | 3.2 | ppm