## Report
Lab Report: Evaluation of Cosmetic Formulations Report ID: 1890 Objective:The objective of this study was to evaluate various cosmetic formulations using a collection of analytical techniques. The formulations were composed of different oil bases and active ingredients commonly used in skincare products. Tests were performed to determine pH levels, viscosity, ion concentration, and other properties relevant to the formulations' quality and stability. Materials and Methods: The formulations were composed as follows: - Formulation A: Coconut Oil, Gum, Glycerin - Formulation B: Coconut Oil, Beeswax, Vitamin E - Formulation C: Jojoba Oil, Glycerin - Formulation D: Almond Oil, Cetyl Alcohol, Vitamin E - Formulation E: Almond Oil, Gum, Glycerin - Formulation F: Jojoba Oil Instruments:1.pH Meter PH-700: Used to measure the pH of the mixture of coconut oil and gum. 2.Centrifuge X100: Employed to separate phases at 5000 RPM. 3.Ion Chromatograph IC-2100: Analyzed the concentration of Vitamin E in coconut oil and beeswax. 4.Rheometer R-4500: Assessed the viscosity of the jojoba oil and glycerin mixture in terms of Pa-s. 5.HPLC System HPLC-9000: Measured Vitamin E concentration in almond oil and cetyl alcohol formulation. 6.Viscometer VS-300: Measured the viscosity of the almond oil and gum formulation, as well as standalone jojoba oil. Observations: Coconut Oil Formulation Tests: The pH of the coconut oil and gum combination was found to be neutral, suggesting suitability for skincare applications. Centrifugation at 5000 RPM indicated stable separation of phases when glycerin was introduced, hinting at potential emulsifying properties. Ion Concentration Study: The ion concentration of Vitamin E in the coconut oil/beeswax mixture was remarkably low at 0.05 mM, which may affect the oxidative stability and shelf-life. Viscosity Assessment Results: Jojoba oil's intrinsic viscosity (2298.98 cP) was notably enhanced in combination with glycerin (250 Pa-s), possibly indicating intermolecular interactions enhancing texture. Almond oil's mixture exhibited a high viscosity, potentially offering rich sensory properties in applications. Vitamin E Quantification: The almond oil and cetyl alcohol combination demonstrated a considerable concentration of Vitamin E at 300 mg/L, suggesting potent antioxidant potential, beneficial for skin protection. Discussion: Throughout the experiment, the selection of oils and active ingredients showcased a wide range of physicochemical properties. The pH measurement confirms a favorable range for user compatibility, especially for pH-sensitive skin types. Varying viscosities highlight differences in formulations - thicker consistencies as noted in almond oil blends could imply preference for intensive care products, while lighter jojoba formulations may suit leave-on products. The low mM concentration of Vitamin E in the coconut and beeswax mixture correlates with potential limitations in antioxidant capability, warranting adjustments in applications targeting preservation or high activity environments. Disparate viscosities in standalone oils and mixtures provide valuable insights into structural adaptabilities and product texture preferences. Overall, the studied formulations offer promising applications with different suitability dependent on desired product attributes and target functionalities. Conclusions: The comprehensive testing of formulations outlined profiles distinctly advantageous for diverse cosmetic applications. Future studies may explore further optimization involving environmental conditions or scaling to industrial capacities. Note: Observational data include scattered findings and non-sequential experimental insights to enhance the exploratory depth of the report. Additional raw data with irrelevant and unrelated context is omitted to maintain clarity and focus on key findings.

## Table_1
Instrument | Components | Measurement | Units
pH Meter PH-700 | Coconut Oil, Gum | 7.5 | pH
Centrifuge X100 | Coconut Oil, Gum, Glycerin | 5000 | RPM

## Table_2
Instrument | Components | Measurement | Units
Ion Chromatograph IC-2100 | Coconut Oil, Beeswax, Vitamin E | 0.05 | mM

## Table_3
Instrument | Components | Measurement | Units
Rheometer R-4500 | Jojoba Oil, Glycerin | 250 | Pa-s
Viscometer VS-300 | Almond Oil, Gum, Glycerin | 7886.57 | cP
Viscometer VS-300 | Jojoba Oil | 2298.98 | cP

## Table_4
Instrument | Components | Measurement | Units
HPLC System HPLC-9000 | Almond Oil, Cetyl Alcohol, Vitamin E | 300 | mg/L