## Report
Lab Report Title: Detailed Analysis of Cosmetic Ingredients Report Reference:Report_2073Date:October 20, 2073Lab Location:Department of Advanced Materials, Innovative Cosmetics Laboratory Objective: To analyze various cosmetic ingredient mixtures using advanced instrumental techniques to determine chemical properties and concentrations. Instrumentation and Samples: The following instruments were employed for the analysis: A total of five test mixtures, each consisting of a combination of specific cosmetic ingredients, were prepared and labeled accordingly. Observations and Measurements: Table 1: Spectroscopic Analysis Table 2: Chromatographic Analysis Results: UV-Vis Analysis: TheUV-2600detected an absorbance of3.1 Absfor theAlmond Oil, Beeswax, and Vitamin Emixture, indicating a moderate level of light absorption likely due to the presence of conjugated systems within the Vitamin E. Gas Chromatography Findings: TheGC-2010highlighted a concentration of250 ppmof volatiles present in theCoconut Oil and Glycerinmixture. The main peak corresponded to a retention time typically associated with fatty acid esters. Liquid Chromatographic Details: With theLC-400, the mixture ofJojoba Oil, Cetyl Alcohol, and Glycerinshowed significant peaks at45.5 ug/mL, suggesting a high concentration of unsaturated carbon chains prominent in Jojoba Oil. Additional Measurements: Table 3: Miscellaneous Properties Conclusion: In conclusion, the comprehensive analysis of these cosmetic ingredient mixtures has revealed significant insights into their molecular compositions and physical properties. The data implies the presence of complex chemical interactions within each blend: Notes and Recommendations: This report succinctly yet intricately documents the analysis, facilitating a closer examination of cosmetic ingredient functionality and synergistic outcomes in complex skincare formulations.

## Table_1
Instrument | Sample Composition | Observation | Measurement
UV-2600 | Almond Oil, Beeswax, Vitamin E | Clear solution, light absorption | 3.1 Abs
NMR-500 | Almond Oil, Gum, Glycerin | Distinct peaks, organic esters | 15.8 ppm

## Table_2
Instrument | Sample Composition | Measurement | Unit
GC-2010 | Coconut Oil, Glycerin | 250 | ppm
LC-400 | Jojoba Oil, Cetyl Alcohol, Glycerin | 45.5 | ug/mL

## Table_3
Instrument | Sample | Measurement | Unit
Mass Spectrometer | Jojoba Oil | 950 | m/z
Viscometer | Jojoba Oil, Beeswax, Vitamin E | 3028.33 | cP