## Report
Lab Report 2088 Introduction In this study, we conducted a series of tests to evaluate the properties of various mixtures involving almond oil, coconut oil, and jojoba oil combined with other ingredients. The tests were performed using several sophisticated instruments such as the Centrifuge X100, Four Ball FB-1000, pH Meter PH-700, UV-Vis Spectrophotometer UV-2600, Titrator T-905, and Viscometer VS-300. Each test sample is assessed based on its unique combination of ingredients. Instrumentation and Methodology 1.Centrifugation Analysis Centrifugation tests were conducted using the Centrifuge X100 to observe the stability of oil mixtures at high speeds. The samples included: -Sample 1: Almond Oil and Glycerin were spun at 5800 RPM. -Sample 2: Coconut Oil, Gum, and Glycerin were subjected to 7500 RPM. The centrifuge process involved multiple stages, and detailed attention was paid to foam formation and phase separation. 2.Four Ball Wear Test The Four Ball FB-1000 test focused on assessing the lubricant properties through wear analysis. Key observations included wear diameter: -Sample 3: Almond Oil, Beeswax, Glycerin showed a wear diameter of 0.450 mm. -Sample 4: Almond Oil and Beeswax had a wear diameter of 0.300 mm. Several test runs were conducted to ensure accuracy, with wear marks closely inspected under a microscope. 3.pH Measurement The pH levels of the oil mixtures were measured using the pH Meter PH-700: -Sample 5: Coconut Oil, Cetyl Alcohol, Vitamin E resulted in a pH of 6.5. -Sample 6: Almond Oil, Cetyl Alcohol measured at pH 7.3. 4.Spectrophotometric Analysis Using the UV-Vis Spectrophotometer UV-2600: -Sample 7: Almond Oil and Glycerin had an absorbance of 1.8 Abs. -Sample 8: Coconut Oil, Gum, Glycerin showed an absorbance of 2.4 Abs. The absorbance was measured at specified wavelengths, and stray light effects were checked. 5.Titration Titration was performed with the Titrator T-905: -Sample 9: Almond Oil, Beeswax, Glycerin with a molarity of 0.005 M. -Sample 10: Almond Oil and Beeswax had a molarity of 0.009 M. 6.Viscosity Measurement The viscosity of a mixture involving jojoba oil was measured using the Viscometer VS-300: -Sample 11: Jojoba Oil and Cetyl Alcohol recorded a viscosity of 2864.62 cP. Several calibration fluids were used to ensure the accuracy of measurement. Observations and Conclusions This experiment yielded valuable insights into the physical and chemical properties of different oil-based mixtures. The Centrifuge X100 results suggest that higher RPMs can enhance phase separation, particularly in complex mixtures such as those containing gum. pH analysis provided stability assessments of the mixtures, crucial for application in cosmetic formulations. Interestingly, the viscosity of jojoba oil-based mixtures was found to be notably high, which suggests potential applications as a thickening agent. Spectrophotometric analysis indicated varying degrees of light absorption, highlighting differences in molecular composition across samples. Irrelevant Data Analysis During the study, occasional irrelevant data such as unexpected foaming during titration and non-standard wear patterns on the Four Ball test were observed. These anomalies were extensively documented for further investigation but did not undermine the overall findings. This comprehensive analysis not only underlines the intricate properties of oil mixtures but also optimizes the methodologies for future research.

## Table_1
Sample ID | Ingredients | Speed (RPM) | Observation
1 | Almond Oil, Glycerin | 5800 | Minimal separation
2 | Coconut Oil, Gum, Glycerin | 7500 | Noticeable layering

## Table_2
Sample ID | Ingredients | Wear (mm)
3 | Almond Oil, Beeswax, Glycerin | 0.45
4 | Almond Oil, Beeswax | 0.3

## Table_3
Sample ID | Ingredients | pH
5 | Coconut Oil, Cetyl Alcohol, Vitamin E | 6.5
6 | Almond Oil, Cetyl Alcohol | 7.3

## Table_4
Sample ID | Ingredients | Absorbance (Abs)
7 | Almond Oil, Glycerin | 1.8
8 | Coconut Oil, Gum, Glycerin | 2.4

## Table_5
Sample ID | Ingredients | Molarity (M)
9 | Almond Oil, Beeswax, Glycerin | 0.005
10 | Almond Oil, Beeswax | 0.009