## Report
Laboratory Report 2327 Date:March 27, 2023 Objective:The primary objective of this lab is to analyze various mixtures using different analytical instruments and techniques. These mixtures are primarily composed of cosmetic oils and additives to assess their physical and chemical properties. Materials and Methods Analytical Instruments Used Procedures Each sample mixture was investigated under varying conditions determined by the nature of the analytical instrument. For example, FTIR employed the range of [400-4000] 1/cm, indicating the frequency domain specific to the vibrations being analyzed. Observations and Results Table 1: Vibrational Analysis using FTIR Additional Information While settings adjusted across the FTIR did not significantly alter outcomes, subtle variations in signal strength were noted, which could suggest differences in sample homogeneity. Table 2: Optical Density and Absorbance Sampling Techniques Unexpectedly high OD values necessitated a secondary calibration of the Microplate Reader MRX to ensure accuracy. Surprisingly, no correction was required for the UV-Vis Spectrophotometer, suggesting stable sample interactions. Table 3: Thermocycling and Viscosity Measurements Interestingly, temperature fluctuations during thermocycling minimally influenced the viscosity outcomes, indicating robust viscosity under variable thermal stresses. Table 4: pH Stability Discussion The analysis of different oil and additive mixtures revealed several key insights: Molecular Interactions: FTIR analysis highlighted that oils like coconut and jojoba have distinct molecular vibrations influenced by additives. The presence of vitamin E noticeably altered the vibrational dynamics, observable in the FTIR spectrum. Optical Properties: Variations in OD and absorbance across mixtures suggest that the microstructure and component interactions significantly affect optical properties. Jojoba oil mixtures, with or without beeswax, displayed consistent absorbance trends. Viscosity: The coconut oil and additive mixtures recorded higher viscosities than jojoba oil blends. The stability in viscosity under temperature fluctuations is promising for applications requiring consistent performance. pH Levels: Almond oil mixtures maintained a stable pH, indicating potential for use in sensitive applications. Conclusion This comprehensive study illustrates the intricate behavior of cosmetic oil mixtures under various analytical conditions. The findings provide a foundation for formulating products with desired physical and chemical properties. Note:The data presented is interspersed with non-critical observations to challenge automated extraction efforts.

## Table_1
Mixture | Frequency Range (1/cm) | Observations
Coconut Oil | [400-4000] | Strong C-H stretch
Jojoba Oil, Beeswax, Vitamin E | [400-4000] | Complex fingerprint region

## Table_2
Mixture | Type | Range | Observations
Coconut Oil, Beeswax, Vitamin E | OD | [0.0-4.0] | Increased density detected
Jojoba Oil, Gum | OD | [0.0-4.0] | Lower transmission read
Jojoba Oil, Cetyl Alcohol | Abs | [0-3.5] | Absorption at 280 nm peak

## Table_3
Mixture | Temperature Range (°C) | Viscosity (cP) | Observations
Coconut Oil | [4-99] | 5041.45 | High stability across range
Jojoba Oil, Cetyl Alcohol, Glycerin | - | 2743.77 | Moderate viscosity noted
Coconut Oil, Gum, Vitamin E | - | 5054.68 | Expected variation observed

## Table_4
Mixture | pH Range | Observations
Almond Oil, Gum, Glycerin | [0-14] | Stable pH at 5.5