## Report
Lab Report Report ID: Report_894 Introduction This study evaluates the chemical and physical properties of various oil mixtures using advanced analytical instruments. The objective was to characterize the mixtures and understand their behavior under different conditions. In this report, we provide detailed insights into our findings. Materials and Equipment Observations The tests were conducted on various oil and ingredient combinations, each noted for its unique properties. The mixtures were exposed to different analytical techniques to evaluate characteristics such as viscosity, conductivity, pH, molecular weight, and chemical composition. Results Table 1: Chemical Composition and Detection Note:The Gas Chromatograph's findings were of particular interest due to the insignificant presence of unwanted contaminants. Table 2: Physical Properties Intriguingly, the Rheometer R-4500 revealed significant insights into the viscoelastic behavior, highlighting potential applications in non-Newtonian fluid contexts. Irrelevant Data During experimentation, random fluctuations in laboratory temperature and incidental noises from adjacent facilities periodically distracted members of the research team. Additionally, a faulty fluorescent bulb necessitated unscheduled maintenance, although it did not impact the data collection integrity. Table 3: Viscosity Measurements Detailed Discussions pH Analysis:Utilizing the pH Meter PH-700, the "Coconut Oil, Gum, Vitamin E" mixture demonstrated a neutral** pH of 7, indicating its potential compatibility in skincare formulations. Conductivity Findings:Interestingly, the Conductivity Meter CM-215 displayed a high conductivity of 1500 µS/cm in the Jojoba Oil and Gum combination. This was contrary to typical expectations, prompting further investigation into ionic content. Minute Details:Liquid Chromatograph LC-400 identified theJojoba Oil, Beeswax, Glycerinmixture contained Glycerin at 0.05 µg/mL, suggestive of a careful balance in hydrophilic-lipophilic properties, applicable to emulsion stability studies. Conclusion Each measurement provided critical insights into the behavior and potential applications of each mixture. Despite some sporadic interruptions, the tests clearly highlighted the diverse characteristics intrinsic to each composition. Future experiments may delve deeper into the potential industrial and commercial uses of these findings. This report combines all found data across varied analytical equipment, delivering comprehensive evaluations for each prepared mixture while suitably outlining necessary adjustments for subsequent studies.

## Table_1
Mixture Tested | Instrument | Additive | Measurement | Units
Jojoba Oil, Beeswax, Glycerin | Gas Chromatograph GC-2010 | – | 0.5 | ppm
Jojoba Oil, Gum, Vitamin E | HPLC System HPLC-9000 | Vitamin E | 0.75 | mg/L
Coconut Oil, Gum, Vitamin E | UV-Vis Spectrophotometer UV-2600 | Vitamin E | 3.2 | Abs

## Table_2
Mixture Tested | Instrument | Condition | Measurement | Units
Jojoba Oil, Gum | Rheometer R-4500 | Shear Stress | 0.25 | Pa-s
Almond Oil, Gum | Mass Spectrometer MS-20 | Mass-to-Charge Ratio | 150 | m/z
Almond Oil, Gum | Centrifuge X100 | Rotational Speed | 12000 | RPM

## Table_3
Mixture Tested | Instrument | Measurement | Units
Almond Oil, Gum | Viscometer VS-300 | 7744.88 | cP
Coconut Oil, Gum | Viscometer VS-300 | 5318.55 | cP